## Slide 1
Introduction
Problem:
Popular modalities for brain imaging are not always feasible or available at early stages of the illness.
Goal:
A system that:
Can be applied at the bedside of critically-ill patients.
Detect neurological injury.
Aid in guiding therapy and improve outcomes.
Solution:
Research brain activity using EEG monitoring:
Measures voltage fluctuations resulting from ionic current within the neurons of the brain.
Noninvasive, with the electrodes placed along the scalp.
Challenges:
Noise - causes poor spatial resolution comparing to other methods.
Bad consistency (Sensitive to movement, modifications, etc.)
Objectives
11 healthy volunteers ranged in age from 7 to 16 years.
5 critically-ill patients ranged in age from 2.5 to 16 years; all with various brain injuries.
The stretchable electrode cap contained 64 EEG electrodes.
Distance to Horizon
Raw Data
Results
Conclusions
We managed to reach good classification performance using PT and rotation, especially with stimulus from different functional areas.
We proved that the data can be sub-sampled (2-5 electrodes).
System Diagram
Distance of each pixel in the ROI from the horizon is calculated
The pixel with maximal distance is chosen
Estimating Brain Activation Patterns from EEG Data
Gal Maman, Supervised by Or Yair In Collaboration with Dr. Danny Eitan
Spatial Sub-Sampling
Riemannian Geometry
Framework:
Let be the Riemannian Manifold of all SPD matrices.
Let be covariance matrices created from different trials.
The Riemannian Geodesic distance is defined by:
Let be a set of SPD matrices, and let be their Riemannian mean:
We can define to be a tangent space composed by the set of tangent vectors at
For each we can define the logarithmic mapping to the tangent plane is given by:
Traditional approach:
Project all matrices to the tangent plane located at the Riemannian mean of the entire set of SPD matrices.
The distance of two pixels in the ROI to the horizon
July 2018
Signal and Image Processing Lab
Andrew and Erna Viterbi
Faculty of Electrical Engineering
Single shot EEG classification
Spatial sub-sampling
The set-up consists of three types of stimuli: somatosensory, auditory and visual.
The final data contains 200-1000 trials for each stimulus (9 stimuli) from every subject (16 subjects).
Preprocessing:
BP filter
Down sampling
Disqualify trials and reject noisy electrodes
Features processing
Classification
Statistical features extraction
Classified data